Dimensions / clearances for fitting a sectional door

Rugby post frame assembly fits onto the rear of the masonry opening. It requires the sizes below for a 3048mm wide x 2125mm high  Hormann or Alutech    sectional door

1. Brick to brick width --------------------------------------------------------------------------- 3050mm

2. Floor to lintel height--------------------------------------------------------------------------- 2125mm

3. Uninterrupted right hand sideroom extending into garage for track length--- 120mm

4. Uninterrupted left hand sideroom extending into garage for track length----- 120mm

5. Headroom from underside of lintel to lowest point of ceiling---------------------  160mm

6. Track depth into garage from back of brick opening--------------------------------- 2635mm

7. Motor boom depth into garage in centre of opening-------------------------------- 3400mm